## Table of Contents
LIST OF TABLES - CHAPTER 8 - WATER RESOURCES
Table Number | Table Title
TABLE 8.1 | THE PUBLIC WATER SUPPLY SYSTEM OF TRINIDAD AND TOBAGO
TABLE 8.2 | IMPORTANT FACTS ON WATER RESOURCES IN TRINIDAD AND TOBAGO
TABLE 8.3 | WASTE LOAD PRODUCTION/DISCHARGES FOR TRINIDAD AND TOBAGO
TABLE 8.4 | AVERAGES PER RIVER OF THE MEAN 1995 CONCENTRATIONS FOR WASA SAMPLING AREAS
TABLE 8.5 | WATER QUALITY OF TOBAGO RIVERS
TABLE 8.6 | NATURAL WATER QUALITY OF MAJOR GROUNDWATER SOURCES

## Table 8.1
TABLE 8.1 THE PUBLIC WATER SUPPLY SYSTEM OF TRINIDAD AND TOBAGO |  | Back to Table of Contents
System | Components
Northern Systems | Hollis Reservoir and other smaller intakes serves Arima and surroundings
North Oropuche | River Intake to serve Sangre Grande, Arima and Westwards.
Caroni Dam and WTP | A major reservoir in the North Central to serve the North and South of the island in an approximate 50:50 ratio.
NorthWest System | Water from Caroni North is supplemented by seven (7) wellfields and river intakes to serve the City of Port-of-Spain and suburbs.
Southern System | Water from Caroni South for areas in Central (including Point Lisas) and South.
Navet Scheme | The second largest reservoir in the Central area to serve the City of San Fernando and suburbs.
Isolated South Plants | Small intakes, and wellfield within the South one-third of the island to supply localised demands.
Tobago - South West System | Hillsborough impounding reservoir, two (2) intakes and eight (8) wells to supply Scarborough and the West of the island.
Tobago - Isolated Plants | Three (3) small intakes and four (4) wells supply the rest of the island on a localised basis.
Source: Water and Sewerage Authority of Trinidad and Tobago

## Table 8.2
TABLE 8.2 IMPORTANT FACTS ON WATER RESOURCES IN TRINIDAD AND TOBAGO |  | Back to Table of Contents
Number of Water Production Sources | 142
Pumping stations (booster station) | 110
Rural intakes and spring sources | 48
Wells | 439
Surface reservoirs with a total capacity of 409 millions gallon (85 in use) | 175
Water treatment plants | 57
Lift stations | 24
Water customers | 300000
Wastewater customers | 46000
Raw water reservoirs: Arena Hollis Navet Hillsborough | 9.8 billion gallons capacity 1.04 billion gallons capacity 4.1 billion gallons capacity 225 million gallons capacity
Water mains (pipeline) ranging from 20 mm to 1,350mm in diameter | 4,073.7 km
Public sewer mains | 1,140km
Population- access to water services | 90%
Population- covered by WASA wastewater | 20%
24/7 supply of water | 18%
Compliance- chemical | 63%
Wastewater water treated | 200 i.m.g.d.
Source: Water and Sewerage Authority of Trinidad and Tobago

## Table 8.3
TABLE 8.3 WASTE LOAD PRODUCTION/DISCHARGES FOR TRINIDAD AND TOBAGO | [6 empty] | Back to Table of Contents
Country | Source | Type of Load | BOD (x 1000 kg/yr) | Suspended Solids (x 1000 kg/yr) | Nitrogen (x 1000 kg/yr) | Phosphorous (x 1000 kg/yr)
Trinidad | Domestic | Produced | 19371 | 114073 | 3300 | 825
| Livestock | Produced | 39444 | 105980 | 3460 | 562
Tobago | Domestic | Discharged | 1438 | 2593 | 492 | 131
| Livestock | Discharged | 197 | 5299 | 173 | 28
Source: Water and Sewerage Authority of Trinidad and Tobago

## Table 8.4
TABLE 8.4 AVERAGES PER RIVER OF THE MEAN 1995 CONCENTRATIONS FOR WASA SAMPLING AREAS | [8 empty] | Back to Table of Contents
Substances | BOD | OrthoPhosphate | Total P | DO | FC | Free N | Settleable Matter | Total NFR
River | mg/l | mg/l | mg/l | mg/l | nr/100ml | mg/l | mg/l | mg/l
North Oropouche | 0.9 | 0.04 | 0.19 | 7.4 | 770 | 0.2 | 0.02 | 25
Caroni (main) | 9.8 | 0.24 | 0.55 | 4.5 | 122885 | 0.9 | 0.14 | 29
Caroni (trib.) | 10.5 | 0.27 | 0.57 | 4.9 | 144850 | 0.9 | 0.16 | 17
Couva | 23 | 0.07 | 0.34 | 6.4 | 15120 | 1.9 | 0.44 | 145
Guaracara | 15 | 0.08 | 0.35 | 4.7 | 25350 | 1.6 | 0.3 | 69
Cipero | 342.5 | 0.17 | 0.5 | 3.1 | 171213 | 1.5 | 0.94 | 66
South Oropouche | 3.9 | 0.05 | 0.37 | 5.5 | 16387 | 0.5 | 0.06 | 225
Average all locations | 58.1 | 0.16 | 0.46 | 4.9 | 88486 | 1 | 0.27 | 78
Source: Water and Sewerage Authority of Trinidad and Tobago
Note:
BOD - Biological Oxygen Demand
P - Phosphorous
DO - Dissolved Oxygen Concentration
FC - Faecal Coliform
NFR - Non-Filtration Residue

## Table 8.5
TABLE 8.5 WATER QUALITY OF TOBAGO RIVERS | [5 empty] | Back to Table of Contents
Locations | Site | Upper / Lower | Physico | Sediment | Water
1 | Bloody Bay | Lower | Perturbed | Polluted | Clean
2 | Courland | Upper | Clean | Perturbed | Perturbed
3 | Courland | Lower | Clean | Perturbed | Perturbed
4 | Hillsborough West | Lower | NA | Polluted | Perturbed
5 | Lambeau | Lower | Perturbed | Polluted | Perturbed
6 | Louis D’or | Lower | Clean | Polluted | Clean
7 | Louis D’or | Upper | Clean | Polluted | Clean
8 | Speyside | Upper | Clean | Polluted | Polluted
9 | Speyside | Lower | Clean | Polluted | Perturbed
Source: Water and Sewerage Authority of Trinidad and Tobago
Note:
NA – Not Applicable

## Table 8.6
TABLE 8.6 NATURAL WATER QUALITY OF MAJOR GROUNDWATER SOURCES | [5 empty] | Back to Table of Contents
Aquifer Systems | TDS mg/L | Chloride mg/L | Hardness mg/L | Alkalinity mg/L | Iron mg/L
NorthWest Gravels | 125 – 128 | 18 – 33 | 75 – 200 | 42 – 180 | 0.00 – 0.08
Northern Gravels | 122 – 420 | 20 – 100 | 28 – 200 | 15 – 200 | 0.00 – 0.14
Central Sands | 75 – 430 | 10 – 140 | 15 – 120 | 120 – 250 | 0.10 – 7.25
Southern Sands | 70 – 720 | 10 – 160 | 15 – 200 | 30 – 410 | 0.20 – 2.30
Source: Water and Sewerage Authority of Trinidad and Tobago